## LabourLibraryDetails
Labour_SrNo | Labour_Name | Parent_SrNo | ItemType | Unit | LCat1 | LCat2 | LCat3 | LabourRate_Basic | Tax_Scheme_Id | Specification
1 | ELECTRICAL WORK 1 | 0 | Group |  |  |  |  | 0
2 | SITC 6 way TPN DB with PPI kit | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 6500 |  | Supplying, erecting, testing and commissioning of only TPN D.B. with space for FPMCB as incoming and space for DPELMCB and 4 SPMCB as outgoing per phase (i.e. 6 way TPN D.B. with PPI kit)
3 | SITC 6.4 MCB 's and its Accessories | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 185 |  | 6.4 MCB 's and its Accessories Supplying, Assembling, levelling, connecting & testing following MCB / ELMCB / MCCB etc in boards as specified in 6.1, 6.2., 6.3 6 to 32 A SP MCB
4 | SITC 6 to 25 A DP RCCB (30mA) | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 1905 |  | 6 to 25 A DP RCCB (30mA)
5 | SITC 40 A FP MCB | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 1800 |  | 40 A FP MCB
6 | One light point controlled by one single way 6A Switch | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 1275 |  | One light point controlled by one single way 6 A switch.
7 | Loop light point controlled by same switch or SP MCB | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 655 |  | Loop light point controlled by same switch or SP MCB same as 11.1.1 & 11.1.2.
8 | One ceiling fan outlet point controlled by one | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 1650 |  | One ceiling fan outlet point controlled by one 6 A switch and hum free electronic type step regulator and cast iron fan box.
9 | One 6 A x 5 pin 250 Volt socket outlet point | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 400 |  | One 6 A x 5 pin 250 Volt socket outlet point controlled by one 6 A switch located on switch board.
10 | 6 A x 5 pin 250 Volt switched socket outlet point | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 1025 |  | 6 A x 5 pin 250 Volt switched socket outlet point at convenient location.
11 | 6/16 A x 250 V switch socket point on one | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 2200 |  | 6/16 A x 250 V switch socket point on one switch box with 2.5 sqmm flexible wires and phase and neutral and 1.5 sq nm flexible Cu. wire as earth wire. The rate should include conduiting upto DB.
12 | 16A x 250 Volt switched socket outlet point with 4 sqmm wire | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 3000 |  | 16A x 250 Volt switched socket outlet point with 4 sq.mm wire for phase and neutral & 2.5 sq.mm earth wire.
13 | Exhaust fan outlet point with 6A 5 pin socket | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 1025 |  | Exhaust fan outlet point with 6A 5 pin socket controlled by one 5 single way switch located at different location.
14 | SITC mains with 3 nos. of 4 sqmm Cu. PVC insulated | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 245 |  | Supplying and Providing mains with 3 nos. of 4 sq mm Cu. PVC insulated flexible wire with ISI and FIA approval for 650 V/ 1100 V and be drawn in 25 mm diameter surface / recessed Metal conduit with all necessary accessories.
15 | SITC mains with 3 nos. of 2.5 sqmm Cu. PVC insulated | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 172 |  | Supplying and Providing mains with 3 nos. of 2.5 sq mm Cu. PVC insulated flexible wire with ISI and FIA approval for 650 V/ 1100 V and be drawn in 25 mm diameter surface / recessed Metal conduit with all necessary accessories.
16 | SITC mains with 3 nos. of 1.5 sqmm Cu. PVC insulated | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 120 |  | Supplying and Providing mains with 3 nos. of 1.5 sq mm Cu. PVC insulated flexible wire with ISI and FIA approval for 650 V/ 1100 V and be drawn in 25 mm diameter surface / recessed Metal conduit with all necessary accessories.
17 | SI PVC pipe including excavation & backfilling min 25mm dia | 1 | Labour | 70_NOS | 27_027_ELECTRICAL WORK |  |  | 50 |  | 14.1 PVC PIPES Supplying and laying following sizes PVC pipe of approved make in open / concealed in wall manner including excavation and back filling (if required) as per layout and drawing and re-filling the trenches etc. complete as directed. Heavy gauge pipe in Open / Concealed manner minimum 25 mm dia with GI pulling wire.

## MasterDetails
Unit_List | LCat1_List | LCat2_List | LCat3_List | TaxScheme_List | ItemType
2_% | 1_001_EARTH WORK | 36_036_FINISHING |  | 1_Output VAT-0% | Group
3_ACR | 2_002_RCC WORK |  |  | 2_Output VAT-1% | Labour
4_BAG | 3_003_MASONARY & PLASTER |  |  | 3_Output VAT-4%
5_BOX | 4_004_WATERPROOFING |  |  | 4_Output VAT-8%
8_BUNDLE | 5_005_MISC. WORK |  |  | 5_Output VAT-12.5%
11_CCM | 6_006_DIAPHRAGM WALL WORK |  |  | 6_Output VAT-13%
12_CDM | 7_007_CORE & SHELL WORK |  |  | 7_Output VAT-15%
13_CM | 8_008_ADMIN |  |  | 8_Output VAT-16%
14_CM2 | 9_009_I.T.(IT INFORMATION TECHNOLOGY) |  |  | 9_Output VAT-20%
15_COIL | 10_010_ALUMINIM DOOR & WINDOW |  |  | 10_Output VAT-25%
18_DAY | 11_011_ALUMINIUM WORK |  |  | 11_Output VAT-26%
19_DEG | 12_012_AUTOMATION |  |  | 12_Output VAT-30%
20_DM | 13_013_BRICKWORK |  |  | 13_Output VAT-35%
23_DZN | 14_014_C.P.FITTINGS |  |  | 14_Output VAT-0% on other sales
24_EA | 15_015_CARPENTERY WORK |  |  | 15_Output VAT-38%
25_RFT | 16_016_CARPENTRY & JOINERY |  |  | 16_Output VAT-46%
26_SQFT | 17_017_CCTV |  |  | 17_Output VAT-60%
29_GAL | 18_018_CIVIL |  |  | 18_Output VAT-25.3% special rate
30_GLI | 19_019_COLOR & WOOD POLISH |  |  | 19_Output VAT-28.75% special rate
31_GM | 20_020_COLOR WORK |  |  | 20_Output VAT-0% on consgt/branch trfer within state
34_GRM | 21_021_CONSULTANCY |  |  | 21_Output VAT-0% on consgt/branch trfer within state
35_GRO | 23_023_DEPARTMENTAL LABOUR |  |  | 22_Output VAT-0% on sales to local agents
37_HOUR | 24_024_DOOR SHUTTER |  |  | 23_Output CST-0% (C-form)
38_IN2 | 25_025_DOORS/WINDOWS/RAILING |  |  | 24_Output CST-1% (C-form)
41_JOB | 26_026_DRAINAGE WORK |  |  | 25_Output CST-2% (C-form)
42_KG | 27_027_ELECTRICAL WORK |  |  | 26_Output CST-3% (C-form)
44_KM | 28_028_ELEVATORS |  |  | 27_Output CST-4% (C-form)
45_KM2 | 29_029_ENTRANCE LOBBY |  |  | 28_Output CST-10%
46_KMH | 30_030_EXCAVATION |  |  | 29_Output CST-0% on sale to government (D-form)
47_KMN | 31_031_EXCAVATION, FILLING & CARTING |  |  | 30_Output CST-0% on sale in-transit (E-I form)
48_KMS | 32_032_EXTERNAL PLASTER |  |  | 31_Output CST-0% on interstate consgt/branch trfer
49_KVA | 33_033_EXTRA WORK |  |  | 32_Output CST-0% on sale in-transit (E-II form)
50_LE | 34_034_FABRICATION |  |  | 33_Output CST-0% on deemed export (H form)
51_LMI | 35_035_FENCING |  |  | 34_Output CST-0% on sale to SEZ (I form)
52_LPH | 37_037_FIRE FIGHTING |  |  | 35_Output CST-0% (no form)
53_LTR | 38_038_FIRE SAFETY WORK |  |  | 36_Output CST-0% on export
55_MTR | 39_039_FITTINGS |  |  | 37_Output service tax-0%
56_M/H | 40_040_FLOOR POLISH |  |  | 38_Output service tax-10.30 %
57_M/S | 41_041_FLOORING WORK |  |  | 39_Output service tax-12.36%
62_MI | 42_042_HARDWARE & TOOLS |  |  | 40_GST 0% 01.07.2017
63_MIN | 43_043_HOUSEKEEPING |  |  | 41_IGST 5% Tax from 01.07.2017
64_MM | 44_044_INTERIOR |  |  | 42_IGST 12% Tax from 01.07.2017
65_MM2 | 45_045_KITCHEN PLATFORM |  |  | 43_IGST 18% Tax from 01.07.2017
66_MM3 | 46_046_LANDS DEVELOPERS |  |  | 44_IGST 28% Tax from 01.07.2017
67_MNM | 47_047_LANDSCAPING |  |  | 45_CGST 2.5% + SGST 2.5% 01.07.2017
68_MONTH | 48_048_LIASONING |  |  | 46_CGST 6% + SGST 6% 01.07.2017
69_MT | 49_049_LIFT |  |  | 47_CGST 9% + SGST 9% 01.07.2017
70_NOS | 50_050_M & P |  |  | 48_CGST 14% + SGST 14% 01.07.2017
73_PACK | 51_051_M S DOOR FRAME |  |  | 49_CGST 1.5% + SGST 1.5% 01.11.2018
75_ROL | 52_052_M.S. MATERIAL |  |  | 50_10+2+1 Ser.Tax w/o Cr.
76_SET | 53_053_MACHINARY HIRING |  |  | 51_10+2+1 Ser.Tax w/o Cr.4% VAT w/o Cr.
79_TIN | 54_054_MACHINERY |  |  | 52_10+2+1 Ser.Tax w/o Cr.12.5% VAT w/o Cr.
80_TOM | 55_055_MAINTENANCE |  |  | 53_10+2+1 Ser.Tax with Cr.
83_TRIP | 56_056_NATURAL STONE |  |  | 54_Service Tax with Credit 10%+2%+1%
85_YD | 57_057_PAINTING |  |  | 55_10+2+1 Ser.Tax with Cr.
86_YD2 | 58_058_PCC |  |  | 56_10+2+1 Ser.Tax + 4+1 Vat with Cr.
87_YD3 | 59_059_PEST CONTROL |  |  | 57_12+2+1 Ser.Tax with Cr.
88_YR | 60_060_PIPING |  |  | 58_2.40+2+1 WCT Cr.
103_CUM | 61_061_PLASTER |  |  | 59_14% Ser.Tax from 01.06.2015-SC
104_SQMT | 62_062_PLUMBING WORK |  |  | 60_14% Ser Tax +0.5% swachh bharat tax 15.11.15
105_LUMPSUM | 63_063_POP/GYPSUM |  |  | 61_14% Ser Tax +0.5% SBC + 0.5% Krishi cess 01.06.16
106_KW | 64_064_RCC COLUMN |  |  | 62_Swachh Bharat Cess 0.50% 15.11.2015
144_CFT | 65_065_RCC PARDI |  |  | 63_TC-TCS SEC.206 (9%)
145_PAIR | 66_066_RCC SLAB & BEAM |  |  | 64_TC-TCS SEC.206 (14%)
| 67_067_RENTAL MACHINERY |  |  | 65_10+2+1 ED w/o Cr.1% VAT w/o Cr. CG
| 68_068_REPAIR WORK |  |  | 66_10+2+1 ED w/o Cr.4% VAT w/o Cr. CG
| 69_069_ROAD |  |  | 67_10+2+1 ED w/o Cr.12.5% VAT w/o Cr. CG
| 70_070_ROAD & TRIMIX WORK |  |  | 68_10+2+1 ED w/o Cr.4% VAT+1% Addl VAT w/o Cr. CG
| 71_071_SAFETY MATERIAL |  |  | 69_10+2+1 ED w/o Cr.12.5% VAT+2.5% Addl VAT w/o Cr. C
| 72_072_SANCTIONING NOCS |  |  | 70_15% VAT+2.5% Addl VAT Cr. NCG
| 73_073_SANITARY WARES |  |  | 71_0% Tax
| 74_074_SERVICES |  |  | 72_1% VAT Cr. NCG
| 75_075_SITE PREPARATION |  |  | 73_4% VAT Cr. NCG
| 76_076_STARICASE/PASSAGES |  |  | 74_12.5% VAT Cr. NCG
| 77_077_STATIONERY |  |  | 75_4% VAT+1% Addl VAT Cr. NCG
| 78_078_STP |  |  | 76_12.5% VAT+2.5% Addl VAT Cr. NCG
| 79_079_TILING |  |  | 77_1% VAT Cr. CG
| 80_080_UCR MASONARY |  |  | 78_4% VAT Cr. CG
| 81_081_V. C. R. |  |  | 79_12.5% VAT Cr. CG
| 82_082_VALVES |  |  | 80_4% VAT+1% Addl VAT Cr. CG
| 83_083_W/P |  |  | 81_12.5% VAT+2.5% Addl VAT Cr. CG
| 84_084_WINDOW WORK |  |  | 82_1% VAT w/o Cr. NCG
| 85_085_WOOD & FURNITURE WORK |  |  | 83_4% VAT w/o Cr. NCG
| 86_086_WORKS CONTRACT |  |  | 84_12.5% VAT w/o Cr. NCG
| 87_087_CLUB HOUSE WORK |  |  | 85_4% VAT+1% Addl VAT w/o Cr. NCG
| 89_089_PAVER LAYING WORK |  |  | 86_12.5% VAT+2.5% Addl VAT w/o Cr. NCG
| 90_090_RMC WORK |  |  | 87_1% VAT w/o Cr. CG
| 91_091_MARKETING_WORK |  |  | 88_4% VAT w/o Cr. CG
| 92_092_PLANTATION WORK |  |  | 89_12.5% VAT w/o Cr. CG
| 93_093_EPOXY WORK |  |  | 90_4% VAT+1% Addl VAT w/o Cr. CG
| 94_094_ GOLF WORK |  |  | 91_12.5% VAT+2.5% Addl VAT w/o Cr. CG
| 95_095_TRAINING_HR |  |  | 92_10+2+1 ED w/o Cr.1% VAT Cr. NCG
| 96_096_GLASS WORK |  |  | 93_10+2+1 ED w/o Cr.4% VAT Cr. NCG
| 97_097_HO WORK |  |  | 94_10+2+1 ED w/o Cr.12.5% VAT Cr. NCG
| 98_098_TESTING |  |  | 95_10+2+1 ED w/o Cr.4% VAT+1% Addl VAT Cr. NCG
| 99_099_ FALSE CEILING |  |  | 96_10+2+1 ED w/o Cr.12.5% VAT+2.5% Addl VAT Cr. NCG
| 100_100_FINISHING |  |  | 97_10+2+1 ED w/o Cr.1% VAT Cr. CG
| 101_101_HR_RECRUITMENT |  |  | 98_10+2+1 ED w/o Cr.4% VAT Cr. CG
| 102_102_SOFTWARE DEVELOPMENT |  |  | 99_10+2+1 ED w/o Cr.12.5% VAT Cr. CG
| 103_103_PILE WORK |  |  | 100_10+2+1 ED w/o Cr.4% VAT+1% Addl VAT Cr. CG
| 104_104_XEROX_WORK |  |  | 101_10+2+1 ED w/o Cr.12.5% VAT+2.5% Addl VAT Cr. CG
| 105_105_SECURITY |  |  | 102_10+2+1 ED w/o Cr.1% VAT w/o Cr. NCG
| 106_106_CURBING WORK |  |  | 103_10+2+1 ED w/o Cr.4% VAT w/o Cr. NCG
| 107_107_ADVOCATE_WORK |  |  | 104_10+2+1 ED w/o Cr.12.5% VAT w/o Cr. NCG
| 108_108_COMPUTER ACCESSORIES & REP |  |  | 105_10+2+1 ED w/o Cr.4% VAT+1% Addl VAT w/o Cr. NCG
| 109_109_MARKETING_NEWS_PAPER |  |  | 106_10+2+1 ED w/o Cr.12.5% VAT+2.5% Addl VAT w/o Cr. N
| 110_110_MARKETING_HOARDING-ADV |  |  | 107_Input 0%excise+0%VAT cnsgt/brch trfer within state
| 111_111_Consultancy and Profl fees-accounts & Finance |  |  | 108_Input 8.16%excise+0%VAT cnsgt/
| 112_112_IT_CONSULTANCY_PROFESSIONAL |  |  | 109_Input 16.32%excise+0%VAT cnsgt
| 113_113_IT_PRECAST |  |  | 110_INPUT CGST 14% + SGCT 14%
| 114_Marketing Online |  |  | 111_INPUT CGST 9% + SGCT 9%
| 115_114_Repair to computer printer |  |  | 112_INPUT CGST 2.5% + SGCT 2.5%
| 116_115_SOFTWARE MAINTENANCE |  |  | 113_INPUT CGST 6% + SGCT 6%
| 117_116_COURIER CHARGES |  |  | 114_INPUT IGST 28%
| 118_117_INTERNAL AUDIT EXPENSES |  |  | 115_INPUT IGST 18%
| 119_118_ LABOUR CHARGES |  |  | 116_INPUT IGST 12%
| 120_119_Audit Fees |  |  | 117_INPUT IGST 5%
| 121_120 Original cost software fic |  |  | 118_OUTPUT CGST 14% + SGCT 14%
| 122_121 Repairs & Main. (Vehicle) |  |  | 119_OUTPUT CGST 9% + SGCT 9%
| 123_122 ADVOCATE/SOLICITER FEES |  |  | 120_OUTPUT CGST 6% + SGCT 6%
| 124_123 SUBSCRIPTION & MEMBERSHIP |  |  | 121_OUTPUT CGST 2.5% + SGCT 2.5%
| 125_124 SCANNING |  |  | 122_OUTPUT IGST 5%
| 126_125 TRANSPORTATION CHARGES |  |  | 123_OUTPUT IGST 12%
| 127_126_NCD Expense |  |  | 124_OUTPUT IGST 18%
| 128_127Advertisement Exp statutory |  |  | 125_OUTPUT IGST 28%
| 129_128 SOLAR |  |  | 126_INPUT CGST 0% + SGCT 0%
127_OUTPUT CGST 0% + SGST 0%
128_INPUT IGST 0%
129_OUTPUT IGST 0%
130_IGST 5% I/P RD
131_C+S GST 5% I/P RD
132_IGST 12% I/P RD
133_IGST 18% I/P RD
134_IGST 28% I/P RD
135_IGST 5% O/P RD
136_IGST 12% O/P RD
137_IGST 18% O/P RD
138_IGST 28% O/P RD
139_C+S GST 12% I/P RD
140_C+S GST 18% I/P RD
141_C+S GST 28% I/P RD
142_C+S GST 5% O/P RD
143_C+S GST 12% O/P RD
144_C+S GST 18% O/P RD
145_C+S GST 28% O/P RD
146_Non C+S GST 0% O/P
147_C+S GST 5% URD O/P
148_C+S GST 12% URD O/P
149_C+S GST 1% URD O/P
150_C+S GST 18% URD O/P
151_C+S GST 1% O/P RD
152_IGST 1% URD O/P
153_IGST 5% URD O/P
154_IGST 12% URD O/P
155_IGST 18% URD O/P
156_Non C+S GST 0% I/P
157_C+S GST 5% I/P RCM PAYABLE
158_C+S GST 18% I/P RCM PAYABLE
159_IGST 5% I/P RCM PAYABLE
160_IGST 18% I/P RCM PAYABLE
161_IGST 5% I/P RCM Receivable
162_IGST 18% I/P RCM Receivable
163_C+S GST 5% I/P RCM Receivable
164_C+S GST 18% I/P RCM Receivable
165_INPUT CGST 1.5% + SGCT 1.5%
166_INPUT CGST 1.5% + SGST 1.5%--
167_RCM = INPUT CGST 9% + SGCT 9%